-- 1. Enable UUID support

CREATE EXTENSION IF NOT EXISTS "uuid-ossp";

-- 2. Users Table

CREATE TABLE users (

user_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

username VARCHAR(50) NOT NULL UNIQUE,

password_hash VARCHAR(255) NOT NULL,

role VARCHAR(20) NOT NULL,

created_at TIMESTAMP NOT NULL DEFAULT NOW(),

last_login TIMESTAMP

);

-- 3. Drug Library

CREATE TABLE drug (

drug_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

name VARCHAR(100) NOT NULL UNIQUE,

concentration DECIMAL(10,2) NOT NULL,

concentration_unit VARCHAR(20) NOT NULL,

default_rate DECIMAL(10,2) NOT NULL,

rate_unit VARCHAR(10) DEFAULT 'mL/hr',

hard_limit_low DECIMAL(10,2) NOT NULL,

hard_limit_high DECIMAL(10,2) NOT NULL,

soft_limit_low DECIMAL(10,2),

soft_limit_high DECIMAL(10,2),

created_by UUID REFERENCES users(user_id),

created_at TIMESTAMP NOT NULL DEFAULT NOW(),

updated_by UUID REFERENCES users(user_id),

updated_at TIMESTAMP

);

-- 4. Infusion Sessions

CREATE TABLE infusion_session (

session_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

user_id UUID REFERENCES users(user_id),

drug_id UUID REFERENCES drug(drug_id),

rate DECIMAL(10,2) NOT NULL,

total_volume DECIMAL(10,2) NOT NULL,

volume_infused DECIMAL(10,2) DEFAULT 0,

status VARCHAR(20) NOT NULL DEFAULT 'Idle',

start_time TIMESTAMP,

end_time TIMESTAMP,

bolus_enabled BOOLEAN DEFAULT FALSE,

kvo_enabled BOOLEAN DEFAULT FALSE,

kvo_rate DECIMAL(10,2),

battery_level INT DEFAULT 100

);

-- 5. Alarms

CREATE TABLE alarm (

alarm_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

session_id UUID REFERENCES infusion_session(session_id),

type VARCHAR(30) NOT NULL,

severity VARCHAR(20) NOT NULL,

timestamp TIMESTAMP NOT NULL DEFAULT NOW(),

acknowledged BOOLEAN DEFAULT FALSE,

acknowledged_by UUID REFERENCES users(user_id),

acknowledged_at TIMESTAMP,

resolved BOOLEAN DEFAULT FALSE,

resolved_at TIMESTAMP,

description TEXT

);

-- 6. Audit Log (Regulatory Requirement)

CREATE TABLE audit_log (

log_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

user_id UUID REFERENCES users(user_id),

action VARCHAR(100) NOT NULL,

entity_type VARCHAR(50),

entity_id UUID,

old_value TEXT,

new_value TEXT,

timestamp TIMESTAMP NOT NULL DEFAULT NOW(),

ip_address VARCHAR(45),

session_id UUID

);

-- 7. System Configuration

CREATE TABLE system_configuration (

config_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

key VARCHAR(100) NOT NULL UNIQUE,

value TEXT NOT NULL,

description TEXT,

updated_by UUID REFERENCES users(user_id),

updated_at TIMESTAMP NOT NULL DEFAULT NOW()

);

-- 8. Test Scenarios

CREATE TABLE test_scenario (

scenario_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

name VARCHAR(100) NOT NULL,

description TEXT,

script TEXT NOT NULL,

created_by UUID REFERENCES users(user_id),

created_at TIMESTAMP NOT NULL DEFAULT NOW()

);

-- 9. Test Executions

CREATE TABLE test_execution (

execution_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

scenario_id UUID REFERENCES test_scenario(scenario_id),

executed_by UUID REFERENCES users(user_id),

executed_at TIMESTAMP NOT NULL DEFAULT NOW(),

status VARCHAR(20) NOT NULL,

result_details TEXT

);

-- 10. Reports

CREATE TABLE report (

report_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

type VARCHAR(30) NOT NULL,

generated_by UUID REFERENCES users(user_id),

generated_at TIMESTAMP NOT NULL DEFAULT NOW(),

parameters TEXT,

file_path VARCHAR(255),

format VARCHAR(10) DEFAULT 'PDF'

);

-- 11. Event Log

CREATE TABLE event_log (

event_id UUID PRIMARY KEY DEFAULT uuid_generate_v4(),

session_id UUID REFERENCES infusion_session(session_id),

event_type VARCHAR(50) NOT NULL,

description TEXT NOT NULL,

timestamp TIMESTAMP NOT NULL DEFAULT NOW(),

user_id UUID REFERENCES users(user_id)

);

INSERT INTO alarm (

alarm_id, session_id, type, severity, timestamp,

acknowledged, acknowledged_by, acknowledged_at,

resolved, resolved_at, description

) VALUES

-- Row 1: Active Occlusion Alarm

(uuid_generate_v4(), uuid_generate_v4(), 'Occlusion', 'High', NOW() - INTERVAL '10 minutes',

FALSE, NULL, NULL, FALSE, NULL, 'Pressure limit exceeded in the IV line.'),

-- Row 2: Acknowledged Air in Line

(uuid_generate_v4(), uuid_generate_v4(), 'Air in Line', 'Critical', NOW() - INTERVAL '1 hour',

TRUE, uuid_generate_v4(), NOW() - INTERVAL '55 minutes', FALSE, NULL, 'Large air bubble detected in chamber.'),

-- Row 3: Resolved Low Battery

(uuid_generate_v4(), uuid_generate_v4(), 'Low Battery', 'Medium', NOW() - INTERVAL '5 hours',

TRUE, uuid_generate_v4(), NOW() - INTERVAL '4 hours', TRUE, NOW() - INTERVAL '3 hours', 'Battery level below 15%. Plugged into AC.'),

-- Row 4: Door Open Alarm

(uuid_generate_v4(), uuid_generate_v4(), 'Door Open', 'High', NOW() - INTERVAL '2 minutes',

FALSE, NULL, NULL, FALSE, NULL, 'Pump door opened during active infusion.');

-- NOTE: To generate the remaining 96 rows quickly for your testing,

-- you can run this loop in your PostgreSQL Query Tool:

DO $$

BEGIN

FOR i IN 1..96 LOOP

INSERT INTO alarm (

alarm_id, session_id, type, severity, timestamp,

acknowledged, acknowledged_by, resolved, description

) VALUES (

uuid_generate_v4(),

uuid_generate_v4(),

(ARRAY['Occlusion', 'Air in Line', 'Low Battery', 'Complete', 'Flow Error'])[floor(random() * 5 + 1)],

(ARRAY['Low', 'Medium', 'High', 'Critical'])[floor(random() * 4 + 1)],

NOW() - (random() * INTERVAL '7 days'),

(random() > 0.5), -- Random True/False for acknowledged

uuid_generate_v4(),

(random() > 0.7), -- Random True/False for resolved

'Automated simulation test alarm #' || i

);

END LOOP;

END $$;

INSERT INTO users (user_id, username, password_hash, role, created_at)

VALUES

-- System Admins

(uuid_generate_v4(), 'admin_sarah', 'pbkdf2_sha256_hash_1', 'Admin', NOW() - INTERVAL '30 days'),

(uuid_generate_v4(), 'sys_mike', 'pbkdf2_sha256_hash_2', 'Admin', NOW() - INTERVAL '25 days'),

-- Doctors (Pharmacology/Drug Library Managers)

(uuid_generate_v4(), 'dr_ahmed', 'pbkdf2_sha256_hash_3', 'Doctor', NOW() - INTERVAL '20 days'),

(uuid_generate_v4(), 'dr_elena', 'pbkdf2_sha256_hash_4', 'Doctor', NOW() - INTERVAL '15 days'),

-- Nurses (Pump Operators)

(uuid_generate_v4(), 'nurse_john', 'pbkdf2_sha256_hash_5', 'Nurse', NOW() - INTERVAL '10 days'),

(uuid_generate_v4(), 'nurse_layla', 'pbkdf2_sha256_hash_6', 'Nurse', NOW() - INTERVAL '5 days'),

(uuid_generate_v4(), 'nurse_omar', 'pbkdf2_sha256_hash_7', 'Nurse', NOW() - INTERVAL '2 days'),

(uuid_generate_v4(), 'nurse_chen', 'pbkdf2_sha256_hash_8', 'Nurse', NOW() - INTERVAL '1 day'),

(uuid_generate_v4(), 'nurse_maria', 'pbkdf2_sha256_hash_9', 'Nurse', NOW()),

(uuid_generate_v4(), 'nurse_sam', 'pbkdf2_sha256_hash_10', 'Nurse', NOW());

INSERT INTO users (user_id, username, password_hash, role, created_at)

VALUES

-- Additional Nurses (Night Shift & Senior)

(uuid_generate_v4(), 'nurse_fatima', 'pbkdf2_sha256_hash_11', 'Nurse', NOW() - INTERVAL '12 hours'),

(uuid_generate_v4(), 'nurse_robert', 'pbkdf2_sha256_hash_12', 'Nurse', NOW() - INTERVAL '8 hours'),

(uuid_generate_v4(), 'nurse_yuki', 'pbkdf2_sha256_hash_13', 'Nurse', NOW() - INTERVAL '6 hours'),

(uuid_generate_v4(), 'nurse_gabriel', 'pbkdf2_sha256_hash_14', 'Nurse', NOW() - INTERVAL '4 hours'),

(uuid_generate_v4(), 'nurse_sana', 'pbkdf2_sha256_hash_15', 'Nurse', NOW() - INTERVAL '2 hours'),

-- Additional Doctors / Clinical Leads

(uuid_generate_v4(), 'dr_kovac', 'pbkdf2_sha256_hash_16', 'Doctor', NOW() - INTERVAL '18 days'),

(uuid_generate_v4(), 'dr_smith', 'pbkdf2_sha256_hash_17', 'Doctor', NOW() - INTERVAL '12 days'),

-- Additional Admins (IT Support)

(uuid_generate_v4(), 'it_support_1', 'pbkdf2_sha256_hash_18', 'Admin', NOW() - INTERVAL '45 days'),

(uuid_generate_v4(), 'it_support_2', 'pbkdf2_sha256_hash_19', 'Admin', NOW() - INTERVAL '40 days'),

(uuid_generate_v4(), 'it_lead_hend', 'pbkdf2_sha256_hash_20', 'Admin', NOW() - INTERVAL '38 days');

INSERT INTO drug (

name, concentration, concentration_unit, default_rate, rate_unit,

hard_limit_low, hard_limit_high, soft_limit_low, soft_limit_high, created_by

) VALUES

-- 1. High Alert: Heparin (Blood Thinner)

('Heparin', 100.00, 'units/mL', 12.50, 'mL/hr', 1.00, 40.00, 5.00, 25.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 2. Insulin (Regular)

('Insulin Regular', 1.00, 'units/mL', 2.00, 'mL/hr', 0.10, 20.00, 0.50, 10.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 3. Morphine (Pain Management)

('Morphine', 1.00, 'mg/mL', 1.00, 'mL/hr', 0.50, 10.00, 1.00, 5.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 4. Dopamine (Cardiac Support)

('Dopamine', 1.60, 'mg/mL', 5.00, 'mL/hr', 1.00, 50.00, 2.00, 20.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 5. Magnesium Sulfate

('Magnesium Sulfate', 40.00, 'mg/mL', 25.00, 'mL/hr', 5.00, 100.00, 10.00, 50.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 6. Potassium Chloride

('Potassium Chloride', 0.20, 'mEq/mL', 10.00, 'mL/hr', 2.00, 20.00, 5.00, 15.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 7. Propofol (Sedative)

('Propofol', 10.00, 'mg/mL', 5.00, 'mL/hr', 1.00, 50.00, 5.00, 30.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 8. Normal Saline (Standard Hydration)

('Normal Saline 0.9%', 0.00, 'N/A', 100.00, 'mL/hr', 1.00, 999.00, 10.00, 500.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 9. Fentanyl

('Fentanyl', 50.00, 'mcg/mL', 2.00, 'mL/hr', 0.50, 20.00, 1.00, 10.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 10. Oxytocin

('Oxytocin', 10.00, 'units/L', 6.00, 'mL/hr', 1.00, 40.00, 2.00, 20.00,

(SELECT user_id FROM users WHERE username = 'dr_elena'));

INSERT INTO drug (

name, concentration, concentration_unit, default_rate, rate_unit,

hard_limit_low, hard_limit_high, soft_limit_low, soft_limit_high, created_by

) VALUES

-- 11. Epinephrine (Adrenaline) - Emergency

('Epinephrine', 0.10, 'mg/mL', 2.00, 'mL/hr', 0.10, 30.00, 1.00, 15.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 12. Amiodarone (Anti-arrhythmic)

('Amiodarone', 1.80, 'mg/mL', 33.30, 'mL/hr', 10.00, 100.00, 20.00, 50.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 13. Vancomycin (Antibiotic)

('Vancomycin', 5.00, 'mg/mL', 100.00, 'mL/hr', 20.00, 250.00, 50.00, 200.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 14. Norepinephrine (Levophed)

('Norepinephrine', 0.06, 'mg/mL', 5.00, 'mL/hr', 0.10, 60.00, 2.00, 40.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 15. Dextrose 5% (D5W)

('Dextrose 5%', 0.00, 'N/A', 75.00, 'mL/hr', 1.00, 500.00, 10.00, 250.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 16. Lidocaine

('Lidocaine', 4.00, 'mg/mL', 15.00, 'mL/hr', 5.00, 60.00, 10.00, 45.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 17. Midazolam (Versed)

('Midazolam', 1.00, 'mg/mL', 2.00, 'mL/hr', 0.50, 15.00, 1.00, 10.00,

(SELECT user_id FROM users WHERE username = 'dr_ahmed')),

-- 18. Furosemide (Lasix)

('Furosemide', 10.00, 'mg/mL', 4.00, 'mL/hr', 1.00, 20.00, 2.00, 10.00,

(SELECT user_id FROM users WHERE username = 'dr_elena')),

-- 19. Heparin (Pediatric Concentration)

('Heparin (Peds)', 10.00, 'units/mL', 1.00, 'mL/hr', 0.10, 10.00, 0.50, 5.00,

(SELECT user_id FROM users WHERE username = 'dr_elena'));

-- 1. A standard Saline hydration (Nearly Finished)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, battery_level)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_john'),

(SELECT drug_id FROM drug WHERE name = 'Normal Saline 0.9%'),

125.00, 1000.00, 950.00, 'Infusing', NOW() - INTERVAL '8 hours', 85

);

-- 2. High-risk Heparin (Recently Started)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, bolus_enabled)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_layla'),

(SELECT drug_id FROM drug WHERE name = 'Heparin'),

12.50, 500.00, 15.20, 'Infusing', NOW() - INTERVAL '1 hour', TRUE

);

-- 3. Insulin Pump (Stopped due to Occlusion)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_omar'),

(SELECT drug_id FROM drug WHERE name = 'Insulin Regular'),

2.00, 50.00, 5.50, 'Stopped', NOW() - INTERVAL '30 minutes'

);

-- 4. Morphine (Pain relief, KVO Mode active)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, kvo_enabled, kvo_rate)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_chen'),

(SELECT drug_id FROM drug WHERE name = 'Morphine'),

1.00, 100.00, 100.00, 'KVO', TRUE, 0.10

);

-- 5. Emergency Epinephrine (Low Battery Warning)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, battery_level)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_maria'),

(SELECT drug_id FROM drug WHERE name = 'Epinephrine'),

2.00, 50.00, 12.00, 'Infusing', 12

);

-- 6. Antibiotic (Vancomycin - Completed)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, end_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_fatima'),

(SELECT drug_id FROM drug WHERE name = 'Vancomycin'),

100.00, 250.00, 250.00, 'Completed', NOW() - INTERVAL '4 hours', NOW() - INTERVAL '90 minutes'

);

-- 7. Sedative (Propofol - Active)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_robert'),

(SELECT drug_id FROM drug WHERE name = 'Propofol'),

15.00, 500.00, 200.00, 'Infusing', NOW() - INTERVAL '3 hours'

);

-- 8. Pediatric Heparin (Stopped - Door Open)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_yuki'),

(SELECT drug_id FROM drug WHERE name = 'Heparin (Peds)'),

1.00, 20.00, 2.10, 'Stopped', NOW() - INTERVAL '20 minutes'

);

-- 9. Magnesium Sulfate (Waiting for Nurse to Start)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_sana'),

(SELECT drug_id FROM drug WHERE name = 'Magnesium Sulfate'),

25.00, 100.00, 0.00, 'Idle'

);

-- 10. Potassium Chloride (Active)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_gabriel'),

(SELECT drug_id FROM drug WHERE name = 'Potassium Chloride'),

10.00, 100.00, 45.00, 'Infusing', NOW() - INTERVAL '4 hours'

);

-- 11. Norepinephrine (Emergency - Infusing at High Rate)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, battery_level)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_fatima'),

(SELECT drug_id FROM drug WHERE name = 'Norepinephrine'),

15.00, 250.00, 45.30, 'Infusing', NOW() - INTERVAL '2 hours', 98

);

-- 12. Fentanyl (Pain Management - Recently Started)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, bolus_enabled)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_robert'),

(SELECT drug_id FROM drug WHERE name = 'Fentanyl'),

2.50, 100.00, 5.00, 'Infusing', NOW() - INTERVAL '15 minutes', TRUE

);

-- 13. Dextrose 5% (Hydration - Battery critical, Plugged in)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, battery_level)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_yuki'),

(SELECT drug_id FROM drug WHERE name = 'Dextrose 5%'),

75.00, 500.00, 480.00, 'Infusing', 5

);

-- 14. Amiodarone (Cardiac - Stopped for Air-in-Line)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_gabriel'),

(SELECT drug_id FROM drug WHERE name = 'Amiodarone'),

33.30, 100.00, 12.40, 'Stopped', NOW() - INTERVAL '40 minutes'

);

-- 15. Propofol (Sedation - Completed)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time, end_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_sana'),

(SELECT drug_id FROM drug WHERE name = 'Propofol'),

10.00, 200.00, 200.00, 'Completed', NOW() - INTERVAL '6 hours', NOW() - INTERVAL '2 hours'

);

-- 16. Albumin 5% (Blood product - Initializing)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_maria'),

(SELECT drug_id FROM drug WHERE name = 'Albumin 5%'),

50.00, 250.00, 0.00, 'Idle'

);

-- 17. Oxytocin (Labor support - Infusing)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_layla'),

(SELECT drug_id FROM drug WHERE name = 'Oxytocin'),

6.00, 500.00, 32.00, 'Infusing', NOW() - INTERVAL '1 hour'

);

-- 18. Furosemide (Diuretic - KVO active)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, kvo_enabled, kvo_rate)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_john'),

(SELECT drug_id FROM drug WHERE name = 'Furosemide'),

4.00, 50.00, 50.00, 'KVO', TRUE, 0.50

);

-- 19. Midazolam (Sedation - Stopped manually)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_chen'),

(SELECT drug_id FROM drug WHERE name = 'Midazolam'),

2.00, 100.00, 85.00, 'Stopped', NOW() - INTERVAL '3 hours'

);

-- 20. Lidocaine (Cardiac - High battery level)

INSERT INTO infusion_session (user_id, drug_id, rate, total_volume, volume_infused, status, start_time)

VALUES (

(SELECT user_id FROM users WHERE username = 'nurse_omar'),

(SELECT drug_id FROM drug WHERE name = 'Lidocaine'),

15.00, 250.00, 110.00, 'Infusing', NOW() - INTERVAL '5 hours'

);

-- 1. Global Alarm Volume (1-10)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'alarm_volume', '8',

'Master volume level for all audible alerts (Range: 1-10).',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 2. Low Battery Threshold (%)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'low_battery_threshold', '15',

'Percentage at which the "Low Battery" medium-severity warning is triggered.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 3. KVO Default Rate (mL/hr)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'default_kvo_rate', '0.5',

'The default rate used when an infusion completes and Keep Vein Open mode starts.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 4. Maximum Pump Rate (Hardware Safety Limit)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'max_hardware_rate', '999.0',

'The absolute maximum rate the pump motor can physically support (mL/hr).',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 5. WiFi SSID (Mobile Syncing)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'wifi_ssid', 'HOSPITAL_SECURE_EXT',

'The network name used for wireless data synchronization with the mobile app.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 6. Occlusion Pressure Sensitivity (mmHg)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'occlusion_sensitivity', '500',

'Downstream pressure threshold that triggers an Occlusion Alarm.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 7. Screen Brightness (%)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'screen_brightness', '75',

'Default display brightness level for the pump physical interface.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 8. Audit Log Retention (Days)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'audit_retention_days', '365',

'How long logs are stored locally before being archived or deleted.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 9. Auto-Lock Timeout (Seconds)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'ui_auto_lock', '60',

'Time in seconds before the screen locks to prevent accidental changes.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 10. Maintenance Interval (Months)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'maintenance_due_months', '12',

'Schedule for technical inspection and calibration of sensors.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 11. Near-Miss Logging

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'log_near_miss_events', 'TRUE',

'If enabled, the system logs attempts to enter doses that were blocked by Hard Limits.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 12. Drug Library Version

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'drug_library_version', '2026.04.v1',

'The current version of the clinical drug limits database installed on the pump.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 13. Max Bolus Volume (mL)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'max_bolus_allowed', '20.0',

'The absolute maximum volume allowed for a single bolus burst regardless of drug type.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 14. Server Sync Interval (Seconds)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'sync_interval_sec', '30',

'How often the pump pushes real-time event logs to the central hospital server.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 15. Language Setting

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'system_language', 'English/Arabic',

'The primary and secondary languages for the pump display and alarm messages.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 16. Air-in-Line Sensitivity (Microliters)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'air_bubble_threshold_ul', '50',

'The minimum size of a single air bubble required to trigger a Critical Stop alarm.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 17. Battery Critical Shutdown (%)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'battery_shutdown_threshold', '3',

'The battery percentage at which the pump will perform a controlled emergency stop.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 18. Nurse PIN Requirement

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'require_pin_for_bolus', 'TRUE',

'Whether the system requires the user to re-enter a PIN before starting a bolus.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 19. Audio Alarm Pitch (Hz)

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'alarm_pitch_hz', '440',

'The frequency of the alarm sound. Used for customizing alert tones in different wards.',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 20. Pump ID / Asset Tag

INSERT INTO system_configuration (key, value, description, updated_by)

VALUES (

'pump_asset_id', 'PUMP-ICU-099',

'Unique identifier for the physical hardware unit within the hospital network.',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 1. Normal Operation Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Baseline Saline Infusion',

'Simulates a standard 1-hour saline infusion at 100mL/hr to verify volume accuracy.',

'{ "steps": [{"action": "set_drug", "value": "Normal Saline 0.9%"}, {"action": "set_rate", "value": 100}, {"action": "start"}] }',

(SELECT user_id FROM users WHERE username = 'dr_ahmed')

);

-- 2. Hard Limit Violation Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Heparin Overdose Protection',

'Tests if the system correctly rejects a rate higher than 40mL/hr for Heparin.',

'{ "steps": [{"action": "set_drug", "value": "Heparin"}, {"action": "set_rate", "value": 50}, {"action": "verify_error", "type": "Hard Limit"}] }',

(SELECT user_id FROM users WHERE username = 'dr_elena')

);

-- 3. Occlusion Response Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Downstream Blockage Simulation',

'Starts an infusion and triggers a high-pressure occlusion alarm after 30 seconds.',

'{ "steps": [{"action": "start_infusion"}, {"delay": 30}, {"action": "trigger_sensor", "type": "occlusion", "value": "high"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 4. Air-in-Line Emergency Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Air Bubble Detection',

'Verifies immediate motor shutdown when the ultrasonic sensor detects air.',

'{ "steps": [{"action": "start_infusion"}, {"action": "inject_air", "size": "60ul"}, {"action": "verify_status", "value": "Stopped"}] }',

(SELECT user_id FROM users WHERE username = 'dr_ahmed')

);

-- 5. Battery Depletion Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Low Battery to Shutdown',

'Simulates rapid battery drop to test warning and critical shutdown levels.',

'{ "steps": [{"set_battery": 20}, {"wait": 10}, {"set_battery": 14}, {"verify_alarm": "Low Battery"}] }',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 6. KVO Transition Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'VTBI Completion Logic',

'Simulates reaching the end of the infusion bag to verify KVO mode activation.',

'{ "steps": [{"set_vtbi": 1.0}, {"action": "infuse_all"}, {"verify_mode": "KVO"}] }',

(SELECT user_id FROM users WHERE username = 'dr_elena')

);

-- 7. Door Safety Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Safety Interlock Check',

'Attempts to open the pump door while the motor is active.',

'{ "steps": [{"action": "start"}, {"action": "open_door"}, {"verify_alarm": "Door Open"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 8. Pediatric Safety Profile Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Pediatric Limit Validation',

'Checks if the lower safety limits are correctly applied for pediatric concentrations.',

'{ "steps": [{"set_drug": "Heparin (Peds)"}, {"set_rate": 0.05}, {"verify_error": "Hard Limit Low"}] }',

(SELECT user_id FROM users WHERE username = 'dr_ahmed')

);

-- 9. Connectivity Loss Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'WiFi Disconnection Recovery',

'Simulates a WiFi drop and verifies that the pump continues to infuse safely offline.',

'{ "steps": [{"action": "start"}, {"action": "disable_wifi"}, {"verify_infusion": "Active"}] }',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 10. Multi-Alarm Priority Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Dual Alarm Sorting',

'Triggers a Low Battery followed by an Occlusion to test alarm priority sorting.',

'{ "steps": [{"trigger": "Low Battery"}, {"trigger": "Occlusion"}, {"verify_priority": "Occlusion"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 11. Night Mode Transition Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Auto-Dimming Check',

'Tests if the UI brightness dims automatically during night hours to prevent patient disturbance.',

'{ "steps": [{"set_system_time": "23:00"}, {"action": "check_brightness", "expected": "<30%"}, {"verify": "Night Mode Active"}] }',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 12. STAT Bolus Emergency Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Emergency Bolus Overload',

'Simulates a rapid sequence of bolus requests to test motor stability and volume tracking.',

'{ "steps": [{"action": "bolus", "vol": "5ml"}, {"delay": 2}, {"action": "bolus", "vol": "5ml"}, {"verify_total_infused": "10ml"}] }',

(SELECT user_id FROM users WHERE username = 'dr_ahmed')

);

-- 13. Power Source Switching

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'AC to Battery Seamless Transition',

'Simulates pulling the plug during an active infusion to ensure the motor doesn''t stutter.',

'{ "steps": [{"action": "start"}, {"action": "disconnect_ac"}, {"verify_status": "Infusing"}, {"verify_source": "Battery"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 14. Nurse Handover Simulation

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'User Session Timeout',

'Tests if the system logs out the current user after inactivity but keeps the infusion running.',

'{ "steps": [{"action": "login"}, {"action": "start"}, {"idle": 300}, {"verify_user": "Logged Out"}, {"verify_pump": "Running"}] }',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 15. Invalid Drug Library Update

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Corrupt Library Rollback',

'Attempts to upload a drug library with invalid JSON and verifies system stays on old version.',

'{ "steps": [{"action": "upload_library", "file": "corrupt.json"}, {"verify_error": "Invalid Format"}, {"verify_version": "current"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 16. Rapid Pressure Spike (Occlusion)

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Transient Occlusion Filter',

'Simulates a 1-second pressure spike (patient moving arm) to see if the pump ignores "noise".',

'{ "steps": [{"action": "start"}, {"trigger_pressure": "600mmHg", "duration": "1s"}, {"verify_alarm": "None"}] }',

(SELECT user_id FROM users WHERE username = 'dr_elena')

);

-- 17. Air-in-Line Cumulative Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Cumulative Air Bubble Limit',

'Triggers 5 tiny bubbles (10uL each) to test if the pump stops once the total air reaches 50uL.',

'{ "steps": [{"repeat": 5, "do": [{"inject_air": "10ul"}, {"delay": 60}]}, {"verify_alarm": "Air-in-Line"}] }',

(SELECT user_id FROM users WHERE username = 'dr_ahmed')

);

-- 18. Maintenance Calibration Check

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Motor Calibration Protocol',

'Runs the motor at 10 different speeds to verify the flow sensor readings match the input.',

'{ "steps": [{"sweep_rates": [1, 10, 50, 100, 500, 999]}, {"action": "calibrate_sensors"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 19. Unauthorized Access Attempt

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'Drug Library Lockout',

'Tests if a user with "Nurse" role is blocked from editing drug concentration levels.',

'{ "steps": [{"login_as": "nurse_john"}, {"action": "edit_drug", "id": "any"}, {"verify_status": "Access Denied"}] }',

(SELECT user_id FROM users WHERE username = 'admin_sarah')

);

-- 20. Long-Duration Stability Test

INSERT INTO test_scenario (name, description, script, created_by)

VALUES (

'24-Hour Continuous Run',

'Simulates a very long infusion to check for memory leaks or clock drift in the simulator.',

'{ "steps": [{"action": "start"}, {"simulate_time_passage": "24h"}, {"verify_volume": "calculated_vs_actual"}] }',

(SELECT user_id FROM users WHERE username = 'sys_mike')

);

-- 1. Successful Baseline Test

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Baseline Saline Infusion'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '2 days',

'Passed',

'Volume accuracy verified at 99.8%. Flow rate stable throughout 1-hour simulation.'

);

-- 2. Successful Hard Limit Protection

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Heparin Overdose Protection'),

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

NOW() - INTERVAL '1 day',

'Passed',

'System correctly blocked input of 50mL/hr. "Hard Limit" alarm triggered as expected.'

);

-- 3. Failed Occlusion Test (Sensor Lag)

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Downstream Blockage Simulation'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '20 hours',

'Failed',

'Alarm triggered after 45 seconds. Required response time is <30 seconds. Sensor recalibration needed.'

);

-- 4. Successful Air-in-Line Detection

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Air Bubble Detection'),

(SELECT user_id FROM users WHERE username = 'dr_elena'),

NOW() - INTERVAL '18 hours',

'Passed',

'Motor stopped immediately upon 60uL air injection. Red strobe and audible alarm confirmed.'

);

-- 5. Aborted Test (User Intervention)

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Battery Depletion Test'),

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

NOW() - INTERVAL '15 hours',

'Aborted',

'Test stopped manually by admin to investigate power supply noise.'

);

-- 6. Successful KVO Transition

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'VTBI Completion Logic'),

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

NOW() - INTERVAL '12 hours',

'Passed',

'Pump switched to 0.5 mL/hr rate perfectly at VTBI=0.'

);

-- 7. Failed Door Safety (Latch Failure)

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Safety Interlock Check'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '10 hours',

'Failed',

'Motor continued to run for 2 seconds after door was forced open. Safety relay check required.'

);

-- 8. Successful Pediatric Limit Check

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Pediatric Limit Validation'),

(SELECT user_id FROM users WHERE username = 'dr_elena'),

NOW() - INTERVAL '8 hours',

'Passed',

'Confirmed: Low-end hard limit for Heparin (Peds) correctly blocked 0.05 mL/hr input.'

);

-- 9. Successful WiFi Recovery

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'WiFi Disconnection Recovery'),

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

NOW() - INTERVAL '5 hours',

'Passed',

'Local log storage verified during WiFi outage. Re-sync completed once connection restored.'

);

-- 10. Successful Alarm Priority Check

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Dual Alarm Sorting'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '2 hours',

'Passed',

'Occlusion (High) correctly took visual priority over Low Battery (Medium).'

);

-- 11. Successful Night Mode Transition

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Auto-Dimming Check'),

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

NOW() - INTERVAL '1 day',

'Passed',

'Screen brightness automatically reduced to 25% at 23:00. UI legibility maintained.'

);

-- 12. Failed STAT Bolus (Volume Mismatch)

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Emergency Bolus Overload'),

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

NOW() - INTERVAL '22 hours',

'Failed',

'Total infused volume calculated at 9.8mL instead of 10.0mL. Motor steps lost during high-speed delivery.'

);

-- 13. Successful Power Source Swap

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'AC to Battery Seamless Transition'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '20 hours',

'Passed',

'No interruption in infusion motor during AC disconnect. Status LED switched from Green to Amber.'

);

-- 14. Successful Session Timeout

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'User Session Timeout'),

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

NOW() - INTERVAL '18 hours',

'Passed',

'User automatically logged out after 300s of inactivity. Active infusion screen remained visible but locked.'

);

-- 15. Successful Security Rollback

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Corrupt Library Rollback'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '16 hours',

'Passed',

'CRC Checksum failed for corrupt.json. System successfully restored drug library v2026.04.v1.'

);

-- 16. Successful Transient Pressure Filter

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Transient Occlusion Filter'),

(SELECT user_id FROM users WHERE username = 'dr_elena'),

NOW() - INTERVAL '14 hours',

'Passed',

'1-second pressure spike ignored by software filter. False alarm avoided.'

);

-- 17. Successful Cumulative Air Check

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Cumulative Air Bubble Limit'),

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

NOW() - INTERVAL '12 hours',

'Passed',

'Pump stopped after 5th 10uL bubble. Cumulative air logic (Total > 50uL) working correctly.'

);

-- 18. Successful Calibration Protocol

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Motor Calibration Protocol'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '10 hours',

'Passed',

'Flow sensors calibrated across all rates (1-999 mL/hr). Deviation within 1.5% margin.'

);

-- 19. Successful Role-Based Access Check

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = 'Drug Library Lockout'),

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

NOW() - INTERVAL '8 hours',

'Passed',

'System correctly blocked Nurse John from modifying Morphine concentration limits.'

);

-- 20. Successful Stability Run

INSERT INTO test_execution (scenario_id, executed_by, executed_at, status, result_details)

VALUES (

(SELECT scenario_id FROM test_scenario WHERE name = '24-Hour Continuous Run'),

(SELECT user_id FROM users WHERE username = 'sys_mike'),

NOW() - INTERVAL '4 hours',

'Passed',

'Simulation completed. No memory leaks detected. Time drift < 0.5 seconds over 24-hour period.'

);

-- 1. Daily Infusion Summary (For Shift Change)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Infusion Summary',

(SELECT user_id FROM users WHERE username = 'nurse_john'),

'{"date": "2026-04-20", "ward": "ICU-A"}',

'/reports/2026/04/daily_summary_icu_0420.pdf',

'PDF'

);

-- 2. Drug Library Audit (Regulatory Check)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Drug Library Audit',

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

'{"version": "2026.04.v1", "check_type": "full"}',

'/reports/2026/04/drug_audit_v1.pdf',

'PDF'

);

-- 3. Alarm Frequency Report (Management Analysis)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Alarm Analytics',

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

'{"period": "last_30_days", "alarm_type": "all"}',

'/reports/2026/analytics/alarm_trends_april.xlsx',

'XLSX'

);

-- 4. Single Patient Infusion History

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Patient Infusion Log',

(SELECT user_id FROM users WHERE username = 'nurse_layla'),

'{"patient_id": "PT-9982", "session_count": 5}',

'/reports/patients/pt_9982_history.pdf',

'PDF'

);

-- 5. System Safety Test Results (Technical)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Test Execution Report',

(SELECT user_id FROM users WHERE username = 'sys_mike'),

'{"batch_id": "TEST-B-505", "status": "Passed/Failed"}',

'/reports/tech/safety_test_505.pdf',

'PDF'

);

-- 6. Hard Limit Violation Log (Safety Office)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Near-Miss Report',

(SELECT user_id FROM users WHERE username = 'dr_elena'),

'{"severity": "Critical", "incident_type": "Hard Limit"}',

'/reports/safety/near_miss_april.pdf',

'PDF'

);

-- 7. Battery Health & Maintenance (Bio-Med)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Maintenance Report',

(SELECT user_id FROM users WHERE username = 'sys_mike'),

'{"asset_id": "PUMP-ICU-099", "check": "Battery/Motor"}',

'/reports/maint/pump_099_status.pdf',

'PDF'

);

-- 8. User Activity Audit (Security)

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'User Activity Log',

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

'{"user_id": "nurse_john", "action": "login/logout"}',

'/reports/security/audit_nurse_john.csv',

'CSV'

);

-- 9. Pediatric Care Compliance

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Compliance Report',

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

'{"protocol": "Pediatric", "adherence": "100%"}',

'/reports/clinical/peds_compliance_q2.pdf',

'PDF'

);

-- 10. Emergency STAT Usage Report

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'STAT Usage Report',

(SELECT user_id FROM users WHERE username = 'dr_elena'),

'{"drug": "Epinephrine", "mode": "Bolus"}',

'/reports/clinical/emergency_bolus_usage.pdf',

'PDF'

);

-- 11. Alarm Response Time Analysis

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Efficiency Report',

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

'{"metric": "avg_response_time", "unit": "seconds", "threshold": 60}',

'/reports/2026/analytics/nurse_response_times_q1.pdf',

'PDF'

);

-- 12. Equipment Utilization Report

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Asset Utilization',

(SELECT user_id FROM users WHERE username = 'sys_mike'),

'{"total_pumps": 50, "active_percentage": 82.5}',

'/reports/2026/biomed/utilization_apr_2026.xlsx',

'XLSX'

);

-- 13. Night Shift Safety Audit

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Night Shift Audit',

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

'{"shift_start": "22:00", "shift_end": "06:00", "incidents": 3}',

'/reports/2026/safety/night_shift_audit_0420.pdf',

'PDF'

);

-- 14. High-Alert Medication Usage

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'High-Alert Drug Log',

(SELECT user_id FROM users WHERE username = 'dr_elena'),

'{"drugs": ["Heparin", "Insulin", "Propofol"], "risk_level": "High"}',

'/reports/2026/pharmacy/high_alert_usage_weekly.pdf',

'PDF'

);

-- 15. Pump Error Code Frequency

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Hardware Error Log',

(SELECT user_id FROM users WHERE username = 'sys_mike'),

'{"error_code": "E-104", "type": "Motor-Stall", "frequency": 12}',

'/reports/2026/tech/error_code_frequency.csv',

'CSV'

);

-- 16. Nurse Training Compliance

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Staff Competency',

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

'{"module": "Smart Pump Advanced", "completion_rate": "95%"}',

'/reports/2026/hr/nurse_training_compliance.pdf',

'PDF'

);

-- 17. Battery Replacement Forecast

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Maintenance Forecast',

(SELECT user_id FROM users WHERE username = 'sys_mike'),

'{"component": "Battery", "replacement_due_count": 5}',

'/reports/2026/biomed/battery_forecast_q2.pdf',

'PDF'

);

-- 18. Soft Limit Override Report

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Clinical Override Log',

(SELECT user_id FROM users WHERE username = 'dr_ahmed'),

'{"type": "Soft Limit", "action": "Override", "count": 14}',

'/reports/2026/clinical/soft_limit_overrides.xlsx',

'XLSX'

);

-- 19. Ward-wise Infusion Volume

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Volume Summary',

(SELECT user_id FROM users WHERE username = 'nurse_chen'),

'{"ward": "Pediatrics", "total_volume_liters": 45.2}',

'/reports/2026/ward/peds_volume_summary.pdf',

'PDF'

);

-- 20. End-of-Life Asset Decommissioning

INSERT INTO report (type, generated_by, parameters, file_path, format)

VALUES (

'Decommissioning Report',

(SELECT user_id FROM users WHERE username = 'admin_sarah'),

'{"pumps_retired": 2, "reason": "Hardware EOL"}',

'/reports/2026/admin/decommissioned_assets.pdf',

'PDF'

);

-- SESSION 1: A "Morphine" session with several technical events

INSERT INTO event_log (session_id, event_type, description, user_id, timestamp)

VALUES

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'Power Source', 'Switched from AC to Internal Battery', NULL, NOW() - INTERVAL '4 hours'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'User Action', 'Nurse pressed BOLUS button', (SELECT user_id FROM users WHERE username = 'nurse_chen'), NOW() - INTERVAL '3 hours 55 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'Bolus Start', 'Bolus delivery initiated: 2.0mL', NULL, NOW() - INTERVAL '3 hours 54 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'Bolus End', 'Bolus delivery completed successfully', NULL, NOW() - INTERVAL '3 hours 52 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'Sensor Update', 'Air sensor self-calibration successful', NULL, NOW() - INTERVAL '3 hours'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'State Change', 'Pump entered KVO mode: VTBI reached zero', NULL, NOW() - INTERVAL '1 hour'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'User Action', 'Nurse pressed STOP button', (SELECT user_id FROM users WHERE username = 'nurse_chen'), NOW() - INTERVAL '10 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Morphine' LIMIT 1),

'System Message', 'Infusion session archived to local memory', NULL, NOW() - INTERVAL '5 minutes');

-- SESSION 2: A "Heparin" session with a hardware error

INSERT INTO event_log (session_id, event_type, description, user_id, timestamp)

VALUES

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'User Action', 'Nurse cleared occlusion alarm', (SELECT user_id FROM users WHERE username = 'nurse_layla'), NOW() - INTERVAL '50 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'Motor Action', 'Motor restarted at 12.5 mL/hr', NULL, NOW() - INTERVAL '49 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'Pressure Reading', 'Downstream pressure stabilized at 120 mmHg', NULL, NOW() - INTERVAL '45 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'Network Status', 'WiFi signal lost: Entering Offline Logging Mode', NULL, NOW() - INTERVAL '30 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'Network Status', 'WiFi signal restored: Syncing 5 cached events', NULL, NOW() - INTERVAL '25 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'User Action', 'Rate Titration: Changed from 12.5 to 15.0 mL/hr', (SELECT user_id FROM users WHERE username = 'nurse_layla'), NOW() - INTERVAL '20 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Heparin' LIMIT 1),

'Sensor Alert', 'Door latch sensor vibration detected', NULL, NOW() - INTERVAL '15 minutes');

-- Random General Events (Filling to 20)

INSERT INTO event_log (session_id, event_type, description, user_id)

VALUES

(NULL, 'System Boot', 'Pump Software v2.5 initialized', (SELECT user_id FROM users WHERE username = 'sys_mike')),

(NULL, 'Self-Test', 'Internal RAM and Motor Drive check: PASSED', NULL),

(NULL, 'Configuration Change', 'Alarm Volume set to 8 by Admin', (SELECT user_id FROM users WHERE username = 'admin_sarah')),

(NULL, 'Security', 'User nurse_omar logged out due to inactivity', NULL),

(NULL, 'Battery', 'Charging started: AC Connected', NULL);

-- SESSION: Insulin Regular (Simulating a technical struggle)

INSERT INTO event_log (session_id, event_type, description, user_id, timestamp)

VALUES

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Sensor Reading', 'Upstream pressure increasing: 350 mmHg', NULL, NOW() - INTERVAL '40 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Alarm Triggered', 'Occlusion Alarm (Upstream) - Infusion Paused', NULL, NOW() - INTERVAL '38 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'User Action', 'Nurse opened door to inspect tubing', (SELECT user_id FROM users WHERE username = 'nurse_omar'), NOW() - INTERVAL '35 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Sensor Alert', 'Door Open detected during Pause state', NULL, NOW() - INTERVAL '35 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'User Action', 'Nurse cleared occlusion and closed door', (SELECT user_id FROM users WHERE username = 'nurse_omar'), NOW() - INTERVAL '32 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Motor Action', 'Pump Resume: Motor stepping at 2.0 units/hr', NULL, NOW() - INTERVAL '31 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Safety Check', 'Post-occlusion bolus reduction algorithm active', NULL, NOW() - INTERVAL '30 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Battery Status', 'Voltage drop detected: Battery at 10%', NULL, NOW() - INTERVAL '15 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'Alarm Triggered', 'Low Battery Warning (Medium Severity)', NULL, NOW() - INTERVAL '14 minutes'),

((SELECT session_id FROM infusion_session s JOIN drug d ON s.drug_id = d.drug_id WHERE d.name = 'Insulin Regular' LIMIT 1),

'System Message', 'Session auto-save: Internal flash memory write successful', NULL, NOW() - INTERVAL '1 minute');